## BD FACSARIA Fusion
Laser Wavelength [nm] | Laser Power [mW] | Laser Type | Spectral Range for Detector [nm] | Dichroic Filters (mirror) [nm] | Band Pass Filter [nm] | Fluorochromes used
640 | 100 | solid-state diode | 750-810 | 755 LP | 780/60 BP
|  |  | 693-767 | 690 LP | 730/45 BP
|  |  | 655-685 | -- | 670/30 BP
488 | 50 | solid-state diode | 750-810 | 735 LP | 780/60 BP
|  |  | 675-715 | 655 LP | 695/40 BP
|  |  | 615-627 | 610 LP | 616/23 BP
|  |  | 564-606 | 556 LP | 585/42 BP
|  |  | 515-545 | 502 LP | 530/30 BP
|  |  | 483-493 | -- | 488/10 BP | SSC detector
405 | 85 | solid-state diode | 750-810 | 750 LP | 780/60 BP
|  |  | 685-735 | 690 LP | 710/50 BP
|  |  | 650-670 | 630 LP | 660/20 BP
|  |  | 600-620 | 595 LP | 610/20 BP
|  |  | 500-550 | 505 LP | 525/50 BP
|  |  | 425-475 | - | 450/40 BP
Instrument: |  | FACS ARIAFusion
Company: |  | BD Biosciences (Waters Biosciences)
Detectors: |  | Photomultiplier tubes (PMT)
Sheath Fluid used: |  | BD FACSFlow (PBS)

## BD LSRFortessa
Laser Wavelength [nm] | Laser Power [mW] | Laser Type | Spectral Range for Detector [nm] | Dichroic Filters (mirror) [nm] | Band Pass Filter [nm] | Fluorochromes used
640 | 40 | solid-state diode | 750-810 | 750 LP | 780/60 BP
|  |  | 693-767 | 690 LP | 730/45 BP
|  |  | 655-685 | -- | 670/30 BP
488 | 100 | solid-state diode | 750-810 | 750 LP | 780/60 BP
|  |  | 675-715 | 635 LP | 695/40 BP
|  |  | 600-620 | 595 LP | 610/20 BP
|  |  | 562-588 | 550 LP | 575/26 BP
|  |  | 515-545 | 505 LP | 530/30 BP
|  |  | 483-493 | -- | 488/10 BP | SSC detector
405 | 100 | solid-state diode | 685-735 | 690 LP | 710/50 BP
|  |  | 600-620 | 595 LP | 610/20 BP
|  |  | 425-475 | - | 450/50 BP
Instrument: |  | LSRFortessa
Company: |  | BD Biosciences (Waters Biosciences)
Detectors: |  | Photomultiplier tubes (PMT)
Sheath Fluid used: |  | BD FACSFlow (PBS)

## BC Cytoflex S
Laser Wavelength [nm] | Laser Power [mW] | Laser Type | Spectral Range for Detector [nm] | Band Pass Filter [nm] | Fluorochromes used
638 | 50 | solid-state diode | 750-810 | 780/60 BP
|  |  | 700-724 | 712/25 BP
|  |  | 655-665 | 660/10 BP
561 | 30 | solid-state diode | 750-810 | 780/60 BP
|  |  | 665-715 | 690/50 BP
|  |  | 600-620 | 610/20 BP
|  |  | 564-606 | 585/42 BP
488 | 50 | solid-state diode | 665-715 | 690/50 BP
|  |  | 505-545 | 525/40 BP
|  |  | 483-493 | 488/10 BP | SSC detector
405 | 80 | solid-state diode | 685-735 | 710/50 BP
|  |  | 600-620 | 610/20 BP
|  |  | 505-545 | 525/40 BP
|  |  | 425-475 | 450/45 BP
Instrument: |  | Cytoflex S
Company: |  | Beckman Coulter
Detectors: |  | Avalanche Photo Diode (APDs)
Sheath Fluid used: |  | BC Cytoflex sheath Fluid cubitainer (water)
Flow cell: |  | Fixed integrated optics and quartz flow cell design with >1.3 numerical aperture.
FSC: |  | Homodyne FSC system using photodiodes with built in 488/8 nm bandpass filter.

## Cytek Aurora
Laser Wavelength [nm] | Laser Power [mW] | Laser Type | Spectral Range for Detector [nm] | Number of channels | Laser | Channel | Center (nm) | Bandwidth (nm) | Start (nm) | End (nm) | Laser | Channel | Center (nm) | Bandwidth (nm) | Start (nm) | End (nm)
355 | 20 | DPSS | 365-829 | 16 | Ultra-Violet | UV1 | 373 | 15 | 365 | 380 | Blue | B1 | 508 | 20 | 498 | 518
405 | 100 | DPSS | 420-829 | 16 |  | UV2 | 388 | 15 | 380 | 395 |  | B2 | 525 | 17 | 516 | 533
488 | 50 | DPSS | 498-829 | 14 |  | UV3 | 428 | 15 | 420 | 435 |  | B3 | 542 | 17 | 533 | 550
561 | 50 | DPSS | 567-829 | 10 |  | UV4 | 443 | 15 | 436 | 451 |  | B4 | 581 | 19 | 571 | 590
640 | 80 | DPSS | 653-829 | 8 |  | UV5 | 458 | 15 | 451 | 466 |  | B5 | 598 | 20 | 588 | 608
[6 empty] | UV6 | 473 | 15 | 466 | 481 |  | B6 | 615 | 20 | 605 | 625
Instrument: |  | Aurora |  |  |  | UV7 | 514 | 28 | 500 | 528 |  | B7 | 661 | 17 | 653 | 670
Company: |  | Cytek |  |  |  | UV8 | 542 | 28 | 528 | 556 |  | B8 | 679 | 18 | 670 | 688
Detectors: |  | Avalanche photodiode (APDs) |  |  |  | UV9 | 582 | 31 | 566 | 597 |  | B9 | 697 | 19 | 688 | 707
Sheath Fluid used: |  | BD FACSFlow (PBS) |  |  |  | UV10 | 613 | 31 | 597 | 628 |  | B10 | 717 | 20 | 707 | 727
[6 empty] | UV11 | 664 | 27 | 651 | 678 |  | B11 | 738 | 21 | 728 | 749
[6 empty] | UV12 | 692 | 28 | 678 | 706 |  | B12 | 760 | 23 | 749 | 772
[6 empty] | UV13 | 720 | 29 | 706 | 735 |  | B13 | 783 | 23 | 772 | 795
[6 empty] | UV14 | 750 | 30 | 735 | 765 |  | B14 | 812 | 34 | 795 | 829
[6 empty] | UV15 | 780 | 30 | 765 | 795 | Yellow-Green | YG1 | 577 | 20 | 567 | 587
[6 empty] | UV16 | 812 | 34 | 795 | 829 |  | YG2 | 598 | 20 | 588 | 608
[5 empty] | Violet | V1 | 428 | 15 | 420 | 435 |  | YG3 | 615 | 20 | 605 | 625
[6 empty] | V2 | 443 | 15 | 436 | 451 |  | YG4 | 661 | 17 | 653 | 670
[6 empty] | V3 | 458 | 15 | 451 | 466 |  | YG5 | 679 | 18 | 670 | 688
[6 empty] | V4 | 473 | 15 | 466 | 481 |  | YG6 | 697 | 19 | 688 | 707
[6 empty] | V5 | 508 | 20 | 498 | 518 |  | YG7 | 720 | 29 | 706 | 735
[6 empty] | V6 | 525 | 17 | 516 | 533 |  | YG8 | 750 | 30 | 735 | 765
[6 empty] | V7 | 542 | 17 | 533 | 550 |  | YG9 | 780 | 30 | 765 | 795
[6 empty] | V8 | 581 | 19 | 571 | 590 |  | YG10 | 812 | 34 | 795 | 829
[6 empty] | V9 | 598 | 20 | 588 | 608 | Red | R1 | 661 | 17 | 653 | 670
[6 empty] | V10 | 615 | 20 | 605 | 625 |  | R2 | 679 | 18 | 670 | 688
[6 empty] | V11 | 664 | 27 | 651 | 678 |  | R3 | 697 | 19 | 688 | 707
[6 empty] | V12 | 692 | 28 | 678 | 706 |  | R4 | 717 | 20 | 707 | 727
[6 empty] | V13 | 720 | 29 | 706 | 735 |  | R5 | 738 | 21 | 728 | 749
[6 empty] | V14 | 750 | 30 | 735 | 765 |  | R6 | 760 | 23 | 749 | 772
[6 empty] | V15 | 780 | 30 | 765 | 795 |  | R7 | 783 | 23 | 772 | 795
[6 empty] | V16 | 812 | 34 | 795 | 829 |  | R8 | 812 | 34 | 795 | 829